{"text_format":"3","workbook":"xls","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"not_rendered":{"images":9},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Sheet1","index":0,"n_rows":13,"n_cols":9,"rows_kept":13,"merged":[[0,0,0,8],[1,0,1,8],[2,7,2,8],[11,7,11,8],[12,7,12,8]],"flags":["formulas_cached_only"]}
["泰州市姜城水务有限责任公司半月管网水水质公示"]
["    为保证城乡居民饮用水安全，接受社会监督，现将我公司供水水质指标予以公示。此次水质公示采样日期为2026年1月19日，采样监测结果显示，我公司管网水水质达到国家生活饮用水卫生标准要求。"]
["水样类型","管网水","采样环境","正常环境","检验方式","化学检验","消毒方式","次氯酸钠"]
["序号","项目","单位","限值","三水派出所","美术学校","环保局","水利局","中天新村"]
[1,"总大肠菌群","MPN/100mL","不应检出","未检出","未检出","未检出","未检出","未检出"]
[2,"菌落总数","CFU/mL","≤100","未检出","未检出","未检出","未检出","未检出"]
[3,"色度                        (铂钴色度单位)","度","≤15","<5","<5","<5","<5","<5"]
[4,"浑浊度                  (散射浑浊度单位)","NTU","≤1",0.18,0.22,0.23,0.24,0.19]
[5,"臭和味","级",0,0,0,0,0,0]
[6,"游离氯","mg/L","≥0.05",0.3,0.4,0.4,0.4,0.5]
[]
[{"$nulls":7},"泰州市姜城水务有限责任公司"]
[{"$nulls":7},"水质检测中心"]

{"sheet":"Sheet2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}

{"sheet":"Sheet3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}